NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

|  |  |
| --- | --- |
| **1.** | **Notifying Member:** REPUBLIC OF KOREA**If applicable, name of local government involved (Article 3.2 and 7.2):**  |
| **2.** | **Agency responsible:** Korean Agency for Technology and Standards (KATS)**Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above:** Metrology & Measurement DivisionKorean Agency for Technology and Standards93, Isu-ro, Maengdong-myeon, Eumseong-gun,Chungcheongbuk-do, 27737Republic of KoreaTel : (+82) 43 870 5517Fax : (+82) 43 870 5681E-mail: dcdc2422@korea.krWebsite: <http://www.kats.go.kr> |
| **3.** | **Notified under Article 2.9.2 [****X],** **2.10.1 [****],** **5.6.2 [****X],** **5.7.1 [****], 3.2 [****], 7.2 [****],** **other****:**  |
| **4.** | **Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable):** Electricity Meters |
| **5.** | **Title, number of pages and language(s) of the notified document:** Revision of the "Technical regulation of Electricity Meters"; (159 page(s), in Korean) |
| **6.** | **Description of content:** Content DescriptionTitle of Legislation: Technical Regulation for Electricity MetersPrimary Content:(Clarification of terminology) enhancement of technical regulation clarity including reorganization of language.(Deregulation) aimed at alleviating the operational constraints on manufacturing enterprises.\*e.g. for the validation of 'start-up' and 'no-load operation' errors, the requirement has transitioned from comprehensive scrutiny to selective sampling inspections.(oversight pertaining to core component management) requires additional tests for modifications in internal power supply |
| **7.** | **Objective and rationale, including the nature of urgent problems where applicable:** Fair commercial transaction; Prevention of deceptive practices and consumer protection |
| **8.** | **Relevant documents:** Ministry of Trade, Industry and Energy Public Notice No. 2024-052 (26 Jan., 2024) |
| **9.** | **Proposed date of adoption:** To be determined**Proposed date of entry into force:** To be determined |
| **10.** | **Final date for comments:** 60 days from notification |
| **11.** | **Texts available from: National enquiry point [****]** **or address, telephone and fax numbers and email and website addresses, if available, of other body:** Technical Barriers to Trade(TBT) DivisionKorean Agency for Technology and Standards(KATS)93, Isu-ro, Maengdong-myeon, Eumseong-gun,Chungcheongbuk-do, 27737Republic of KoreaTel.: (+82) 43 870 5315Fax: (+82) 43 870 5682E-mail: tbt@korea.krWebsite: <http://www.knowtbt.kr><https://members.wto.org/crnattachments/2024/TBT/KOR/24_02391_00_x.pdf><https://members.wto.org/crnattachments/2024/TBT/KOR/24_02391_01_x.pdf><https://members.wto.org/crnattachments/2024/TBT/KOR/24_02391_02_x.pdf> |