NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

|  |  |
| --- | --- |
| **1.** | **Notifying Member:** RWANDA  **If applicable, name of local government involved (Article 3.2 and 7.2):** |
| **2.** | **Agency responsible:**  Rwanda Standards Board (RSB)  KK 15 Rd, 49  P.O.BOX 7099, Kigali, Rwanda  Tel: +250 788303492  Email: [info@rsb.gov.rw](mailto:info@rsb.gov.rw)  Website: [www.rsb.gov.rw](http://www.rsb.gov.rw)  **Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above:** |
| **3.** | **Notified under Article 2.9.2 [****X],** **2.10.1 [****],** **5.6.2 [****],** **5.7.1 [****], 3.2 [****], 7.2 [****],** **other****:** |
| **4.** | **Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable):** Construction materials in general (ICS code(s): 91.100.01) |
| **5.** | **Title, number of pages and language(s) of the notified document:** DRS 540: 2023, Reaction to fire tests for building products — Building products excluding floorings exposed to the thermal attack by a single burning item; (133 page(s), in English) |
| **6.** | **Description of content:** This Draft Rwanda standard specifies a method of test for determining the reaction to fire performance of construction products excluding floorings when exposed to thermal attack by a single burning item (SBI). The  calculation procedures are given in Annex A. Information on the precision of the test method is given in Annex B. The calibration procedures are given in Annexes C and D, of which Annex C is a normative annex.  NOTE This document has been developed to determine the reaction to fire performance of essentially flat products. The treatment of some families of products, e.g. linear products (pipes, ducts, cables etc.), can need special rules. |
| **7.** | **Objective and rationale, including the nature of urgent problems where applicable:** Consumer information, labelling; Prevention of deceptive practices and consumer protection; Protection of human health or safety; Quality requirements; Reducing trade barriers and facilitating trade |
| **8.** | **Relevant documents:**   1. DRS 547 , Fire classification of construction products and building elements - Classification using data from reaction to fire tests 2. ISO 13943:2017, Fire safety — Vocabulary |
| **9.** | **Proposed date of adoption:** To be determined  **Proposed date of entry into force:** To be determined |
| **10.** | **Final date for comments:** 60 days from notification |
| **11.** | **Texts available from: National enquiry point [****]** **or address, telephone and fax numbers and email and website addresses, if available, of other body:**  Rwanda Standards Board (RSB)  KK 15 Rd, 49  Toll Free: 3250  Tel: +250 788303492  Email: [info@rsb.gov.rw](mailto:info@rsb.gov.rw)  Website: [www.rsb.gov.rw](http://www.rsb.gov.rw)  P.O.BOX 7099, Kigali, Rwanda  <https://members.wto.org/crnattachments/2023/TBT/RWA/23_0542_00_e.pdf> |